## Sheet1
CLIO digital parts list | [21 empty] | 2009-01-06
group | beam | path | order | Ref | Qty 1st | Qty2nd | final Qty | Part Number | Description | Vendor | Price | !st stage cost | 2nd stage cost | on hand | cost | Qty | date | cost | overage | ETC | total cost | Comment
1 |  | 1 |  | 1 | 1 | 0 | 1 | Fire X4600 ?processors | Work station | SUN | 11000 | 11000 | 0 | 0 | 0 |  |  |  | -1 | 11000 | 11000
1 |  |  |  | 2 | 1 | 2 | 3 | D070212-00-C | Expansion chassis | LIGO | 1000 | 1000 | 2000 | 0 | 0 |  |  |  | -3 | 3000 | 3000 | Cost?
1 |  |  |  | 3 | 1 | 2 | 3 | ? | PCI/PCI-X backplane 64/66MHz EXPANSION BACKPLANE | MOBILITY ELECTRONICS, INC. | 1000 | 1000 | 2000 | 0 | 0 |  |  |  | -3 | 3000 | 3000 | Cost?
1 |  |  |  | 4 | 1 | 2 | 3 | ? | PCI EXPRESS TO PCIX EIF PHOENIX MEZZ BOARD | MAGMA | 2000 | 2000 | 4000 | 0 | 0 |  |  |  | -3 | 6000 | 6000 | Cost?
1 |  |  |  | 5 | 2 | 2 | 4 |  | 150m Fiber optical patch cableLC-LC Duplex MM | CDW | 200 | 400 | 400 | 0 | 0 |  |  |  | -4 | 800 | 800
1 |  |  |  | 6 | 2 | 0 | 2 |  | 10m Fiber optical patch cableLC-LC Duplex MM | CDW | 100 | 200 | 0 | 0 | 0 |  |  |  | -2 | 200 | 200
1 |  | 1 |  | 7 | 1 | 4 | 5 | PCI66-16AI64SSA-64-50M | ADC Modules and cables | General Standards | 4000 | 4000 | 16000 | 0 | 0 |  |  |  | -5 | 20000 | 20000
1 |  | 1 |  | 8 | 1 | 4 | 5 | PCI66-16AO16-16-F0-DF | DAC Modules and cables | General Standards | 4000 | 4000 | 16000 | 0 | 0 |  |  |  | -5 | 20000 | 20000
1 |  | 1 |  | 9 | 1 | 3 | 4 | PCI-IIRO-16 | Binary I/O Modules and cables | CHASSIS PLANS | 400 | 400 | 1200 | 0 | 0 |  |  |  | -4 | 1600 | 1600
1 |  | 1 |  | 10 | 3 | 11 | 14 | ? | Connection card among timing ADC or DAC to AA or AI | LIGO | 100 | 300 | 1100 | 0 | 0 |  |  |  | -14 | 1400 | 1400 | Cost?
1 |  |  |  | 11 | 1 | 0 | 1 | Tempus LX | GPS Network Time Server | EndRun TECHNOLOGIES | 1000 | 1000 | 0 | 0 | 0 |  |  |  | -1 | 1000 | 1000 | Cost?
1 |  |  |  | 12 | 1 | 0 | 1 | D050239 | Master Timer Sequencer | LIGO |  | 0 | 0 | 0 | 0 |  |  |  | -1 | 0 | 0 | Might be made in Japan, cost?
1 |  |  |  | 13 | 2 | 1 | 3 | D050442 | Timing slave | LIGO |  | 0 | 0 | 0 | 0 |  |  |  | -3 | 0 | 0 | Might be made in Japan, cost?
1 |  |  |  | 14 | 1 | 4 | 5 | ? | Whitening filter | LIGO |  | 0 | 0 | 0 | 0 |  |  |  | -5 | 0 | 0 | Might be made in Japan, cost?
1 |  |  |  | 15 | 2 | 3 | 5 | ? | De-whitening filter | LIGO |  | 0 | 0 | 0 | 0 |  |  |  | -5 | 0 | 0 | Might be made in Japan, cost?
1 |  |  |  | 16 | 1 | 4 | 5 | D070081 | AdL AA filter | LIGO |  | 0 | 0 | 0 | 0 |  |  |  | -5 | 0 | 0 | Might be made in Japan, cost?
1 |  |  |  | 17 | 2 | 3 | 5 | D070081 | AdL AI filter | LIGO |  | 0 | 0 | 0 | 0 |  |  |  | -5 | 0 | 0 | Might be made in Japan, cost?
[12 empty] | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2 |  |  |  | 18 | 1 | 0 | 1 |  | Matlab, simulink |  | 2000 | 2000 | 0 | 0 | 0 |  |  |  | -1 | 2000 | 2000
2 |  |  |  | 19 | 1 | 0 | 1 |  | Real time linux core | Windrevier | 2000 | 2000 | 0 | 0 | 0 |  |  |  | -1 | 2000 | 2000
[12 empty] | 29300 | 42700 | 0 | 0 | 0 | 0 | 0 | -71 | 72000 | 72000